## Slide 1: Thermal characterization of Au-Si multilayers using 3-omega method
Sunmi Shin
Materials Science and Engineering Program
PHYS 211A

## Slide 2: Conventional steady-state system to measure thermal conductivity
Fourier’s Law of heat conduction:
Q: input power
∆T: temperature difference
t: thickness
A: cross-sectional area
What is the weaknesses?
Long thermal equilibrium time
Errors due to black body radiation

## Slide 3: What is 3-omega measurement?
Nano lett., 14, 2448-2455 (2014)

## Slide 4: How to extract thermal conductivity [1]
 Heat generates a temperature fluctuation.
 R is influenced by temperature oscillation.
Temperature coefficient of resistance (TCR)
Apply AC current

## Slide 5: How to extract thermal conductivity [2]
T depends on k.
k can be extracted from V3ω vs ω.
Slope of the curve on logscale
 Indicative of k
Measured 3ω voltage
How?

## Slide 6: Thermal conductivity with 1D heat conduction
1/q: thermal penetration depth
f: input frequency
D: thermal diffusivity of the specimen
Slope of the curve
Heated region: semi-circle

## Slide 7: Application: Au-Si multilayers with ultralow k
Debye temperature ratio (DTR): 3.9
Phy. Rev. B 73, 144301 (2006)
Highly dissimilar interfaces lower the thermal conductivity.
DTR ~ 1.6
DTR ~ 18.7
Nano lett., 14, 2448-2455 (2014)

## Slide 8: Temperature gradient within specimen
Film
Substrate
Film
Heater
Substrate
Heater
Nano lett., 14, 2448-2455 (2014)

## Slide 9: Measured thermal conductivity of Au-Si multilayers
Nano lett., 14, 2448-2455 (2014)

## Slide 10: Thank you!